## Лист1
Coefficient of variation (CV) %:
Coefficient of variation (CV) % is measured in Reference mode following the instruction for Reference testing procedure. It is determined by analysis of standard reference milk samples from certified dairy laboratories. To determine the reference coefficient of variation (CV) % only such standard reference milk sample must be used. If nonstandard milk samples are used, a deviation of the CV% may be received. The standard reference milk samples do not include a large amount of cell fragments and do not include yeast cells.
Calculating Coefficient of variation (CV) %:
To calculate the Coefficient of variation (CV) %, following the above procedure, you have to test 10 times milk sample with somatic cell concentration 50000-200000 cell/ mL, to test 10 times milk sample with somatic cell concentration 400000-600000 cell/mL and to test 10 times milk sample with somatic cell concentration 800000-1400000 cell/mL. Then to fill in the received results in the table below.
Raw data | Sample 50000-200000 cell/mL | Sample 400000-600000 cell/mL | Sample 800000-1400000 cell/mL
| 1 | 2 | 3
Measurement 1
Measurement 2
Measurement 3
Measurement 4
Measurement 5
Measurement 6
Measurement 7
Measurement 8
Measurement 9
Measurement 10
Mean value | #DIV/0! | #DIV/0! | #DIV/0!
Standard deviation | #DIV/0! | #DIV/0! | #DIV/0!
Coefficient of variation % | #DIV/0! | #DIV/0! | #DIV/0!
Excel formulas for calculating:
Mean Value:=AVERAGE(Measurement 1: Measurement 10)
Standard deviation: =STDEV(Measurement 1: Measurement 10)
Coefficient of variation %: =100* Standard deviation / Mean Value
LACTOSCAN SCC setting:
For measuring standard reference milk samples from certified dairy laboratory and calculating the Coefficient of variation (CV) %, LACTOSCAN SCC must be set as follow:
Minimum cell size in micrometer : 6
Maximum cell size in micrometer : 20